# Hadrut client files

Recounted from the data folder on 23 October 2026. 84 files. Each file is in one row, so the counts add up to 84.

Xocavənd DQT.dwg sits in the notes folder. Its title text could not be read, so it is counted with the site and construction-plan drawings.

| Kind | Files | What it contains |
| --- | --- | --- |
| Contract bill | 2 | BOQ-Hadrut.xlsx and its 63-page PDF. 2,175 priced lines. Header 3,811,193 AZN. Lines add up to about 3,110,506 AZN |
| Official estimate | 1 | SMETA.pdf, order 9526. External power only, 436,712 AZN |
| Architecture | 7 | Plans, sections, elevations, floors, doors and windows for the depot, guard room, tower, pump station, heating point, toilet, and the substation |
| Reinforced concrete | 16 | 13 DWG models, 2 tank PDFs, 1 substation PDF. Footings, frames, tanks, fence. Concrete and steel totals are written on the sheets |
| Water and sewerage | 9 | DWG pipe drawings for the depot, tanks, pump station, heating point, tower, vehicle wash and toilet |
| Electrical | 13 | 1 DWG and 12 PDFs. 0.4 kV cables, external lighting, generator, pump station, guard room, tower, 250 kVA substation. Several sheets already list lengths and counts |
| Heating and ventilation | 5 | 1 DWG and 4 PDFs. Ducts and pipes, heat-loss areas, insulation thickness, energy class |
| Site, roads and construction plan | 11 | 10 DWG and 1 PDF. Site layout, vertical grading, roads, landscaping, heating network, construction site plan, substation master plan. Includes Xocavənd DQT.dwg |
| General note and title pages | 3 | 56-page scanned note with the building list, areas and road layers, plus 2 cover sheets |
| Construction organisation | 1 | Word file. Duration 16.5 months, machines, temporary fence 249.1 m |
| Ecology | 1 | Word file. Soil, air, water, noise and waste during construction |
| Geology and climate | 3 | Word files. Boreholes, soil layers, strength, temperature, rain and snow |
| Substation explanatory note | 1 | Scanned PDF for the 250 kVA, 35/0.4 kV substation |
| Structural calculation | 1 | LIRA-SAPR 2013 model of the transformer. Not a drawing and not a bill |
| Copies and junk | 10 | 1 zip of the same folder, 2 AutoCAD backups, 6 plot logs, 1 Word lock file |